## Sheet1
PAS2030:2023
Stage | Document | Filename | ECMK Required? | PAS Hub Evidence Category | User to upload & assign evidence category | Required When
Survey | SiteNote | SiteNote_[job id] | Yes | Site Note (Green /Blue) and Certificate(s) | N/A | All Projects
Survey | PAS 2023 Property Assessment Report | PAS 2023 Property Assessment Report_[job id] | Yes | Full Property Assessment | N/A | All Projects
Survey | PAS 2023 Condition Report | PAS 2023 Condition Report_[job id] | Yes | Condition Report | N/A | All Projects
Survey | PAS 2023 Occupancy Assessment Report | PAS 2023 Occupancy Assessment Report_[job id] | Yes | Occupancy Assessment | N/A | All Projects
Survey | PAS 2023 Ventilation Assessment Report | PAS 2023 Ventilation Assessment Report_[job id] | Yes | Ventilation Assessment | N/A | All Projects
Survey | PAR Photo Pack | PAR Photo Pack_[job id] | Yes | Other | N/A | All Projects
Survey | PAS Significance Survey | Pas Significance Survey_[job id] | Yes | Significance Survey | N/A | When Traditional construction
Survey | RdSAP Site Note | RdSAP Site Note | Yes | Pre Installation RdSAP | N/A | All Projects
Survey | PAS Intended Outcomes | PAS PIO Report_[job id] | Yes | Intended Outcomes | N/A | All Projects
Survey | Photopack (generated from iPad) | Photopack_[job id] | Yes | Leave blank | N/A | All Projects
Survey | Certificate of Level 3 Traditional Buildings* | Traditional Buildings Assessor Certificate | Yes | Qualifications | Company User | When Traditional construction
Design | Technical Survey | [Measure]_Technical Survey | Yes | Pre-Installation Building Inspection | Company User | All Projects, one per measure. To include PAS2030 Annex B measure specific questions.
Design | Design documents (incl Product Data Sheets) | Retrofit Design | Yes | Retrofit Design | Company User | All Projects
Design | Ventilation Assessment (Part F) | Ventilation Assessment Checklist | Yes | Ventilation Assessment Checklist | Company User | All Projects
Design | Air Tightness Strategy | Air Tightness Strategy | Yes | Air Tightness Strategy | Company User | All Projects that have Fabric measures
Design | Thermal Bridging Calculations | Thermal Bridging Calculations | Yes | Retrofit Design | Company User | All projects where fabric measures are installed and continuous insulation cannot be ensured
Design | Thermal Bridging Considerations | Thermal Bridging Considerations | Yes | Retrofit Design | Company User | When fabric measures being installed, locations annotated
Design | Overheating Assessment | Overheating Assessment | Yes | Retrofit Design | Company User | When fabric measures being installed
Design | Heat demand calculations | Heat Demand Calcs | Yes | Retrofit Design | Company User | When heating measures being installed
Design | Heritage Impact Assessment | Heritage Impact Assessment | Yes | Heritage Impact Assessment | Company User | If the dwelling to be improved is traditionally constructed and/or of significance
Design | Underfloor Ventilation Assessment | Underfloor Ventilation Assessment | Yes | Retrofit Design | Company User | When UFI measures being installed
Design | Pre- Air Pressure Test Results | Pre- Air Pressure Test Results | Yes | Leave Blank | Company User | Where an air pressure target has been set
Design | Pre- Pulse Test Results | Pre- Pulse Test Results | Yes | Air Tests - BGV | Company User | If utilising an approved Air Pulse testing process
Design | Planning Consent | Planning Consent | Yes | Retrofit Design | Company User | All Projects where Planning Consent is required
Design | Retrofit Designer Qualifications***** | [Measure]_Retrofit Designer Qualification | Yes | Qualifications | Company User | All Projects where the Coordinator is not the Designer.
Design | Installation Costs per Measure | To be added against each measure within Job Details | No | Leave blank | Company User | All Projects
Design | Improvement Option Evaluation Document | Improvement Option Evaluation | Yes | Improvement Option Evaluation | Retrofit Coordinator | All Projects
Design | Medium Term Improvement Plan | Medium Term Improvement Plan | Yes | Medium Term Improvement Plan | Retrofit Coordinator | All Projects
Post Installation | Coordinator Site Visit Report | Coordinator Site Visit Report | Yes | Leave Blank | Retrofit Coordinator | Fabric measures, within the project, that interact with other installed/existing fabric measures.
Post Installation | Building Regs Notification via CPS | [Measure]_Submission to CPS | Yes | Leave Blank | Company User | All measures except for Loft Insulation and MCS measures
Post Installation | Post- Air Pressure Test Results | Post- Air Pressure Test Results | Yes | Leave Blank | Company User | Where an air pressure target has been set
Post Installation | Post- Pulse Test Results | Post- Pulse Test Results | Yes | Air Tests - BGV | Company User | If utilising an approved Air Pulse testing process
Post Installation | Operative Competency** | [Measure]_Operative Competency | Yes | Qualifications | Company User | All Projects
Post Installation | Claim of conformity to PAS 2030 (PICI) | [Measure]_Claim of Compliance PAS2030 | Yes | Claim of Compliance PAS2030 | Company User | All Projects containing PAS measures.
Post Installation | Claim of conformity to PAS 2035 | Claim of Compliance PAS2035 | Yes | Claim of Compliance PAS2035 | Retrofit Coordinator | All Projects
Post Installation | PICM Mid Installation Photos*** | [Measure]_Mid Install Photo | Yes | Mid Photo | Company User | All Projects (to include Thermal Bridging reduction for Insulation Measures)
Post Installation | PICA Post Installation Photos*** | [Measure]_Post Install Photo | Yes | Post Photo | Company User | All Projects
Post Installation | Evidence of Ventilation Installed | Installed Ventilation Photos | Yes | Post Photo | Company User | All Projects where a fabric measure has been installed
Post Installation | Handover Document | Handover Documents | Yes | Leave blank | Company User | All Projects
Post Installation | Installation Guarantees**** | [Measure]_Insurance Guarantee | Yes | Insurance Guarantee | Company User | All Projects
Post Installation | Test Certs & commissioning records | [Measure]_Test Certs | Yes | Handover Documents | Company User | All Projects
Post Installation | Electric Minor Works Certificate (Ventilation) | [Measure]_Electric Minor Works | Yes | Minor Works Electrical Certificate | Company User | All Projects where extract ventilation has been installed
Post Installation | MCS Compliance Certificate | [Measure]_MCS Compliance Certificate | Yes | MCS Compliance Certificate | Company User | When MCS measures have been installed
Post Installation | Coordinator Handover Letter | Coordinator Handover Letter | Yes | Handover Documents | Retrofit Coordinator | All Projects
Post Trustmark Lodgement | Pre Installation EPR xml file | Pre Installation EPR.xml | Yes | Blank | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Pre EPR Certificate | Pre Energy Performance Report (EPR).pdf | Yes | Pre Energy Performance Report (EPR) | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Pre EPR Site Notes | Pre EPR Site Notes.pdf | Yes | Pre installation RdSAP | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Post Installation EPR certificate | Post Installation EPR.xml | Yes | Blank | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Post EPR Certificate | Post Energy Performance Report (EPR).pdf | Yes | Post Energy Performance Report (EPR) | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Post Installation EPR xml file | Post Installation EPR.xml | Yes | Post installation RdSAP | N/A | All Projects (created by PAS Hub)
Post Trustmark Lodgement | Trustmark Project Completion Certificate | Trustmark_Project_Certificate.pdf | No | Blank | N/A | All Projects (added to PAS Hub directly from Trustmark)
Evaluation | RFC Monitoring & Evaluation | Monitoring & Evaluation Outcomes | Yes | Monitoring & Evaluation Outcomes | Retrofit Coordinator | All Projects
* Retrofit assessors should have the Level 3 qualification if they are assessing traditional buildings that are listed or are within a conservation area.
** Examples of operative competency are Gas Safe Cards and/or NVQ certificates (see measure specific annexes within PAS document).
*** Photos should be compiled into a single PDF document before uploading to PAS Hub, there should be separate PDF documents for Mid and for Post photos.
****If a job has more than one measure then an Installation Guarantee has to be uploaded for each measure, therefore having more than one document with the PAS Hub Evidence Category showing as Insurance Guarantee. When you set the PAS Hub Evidence Category as Insurance Guarantee also select which measure the document relates to.
*****Please provide evidence of the appropriate designer’s qualification for each measure as per Pas2035 Annex A3