# Pre-Installation Building Inspection – Cavity Wall Insulation

## Property Details

| Address Line 1 |  | Address Line 2 |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address Line 3 |  | Town |  |  |  |
| County |  | Postcode |  |  |  |

## Installer Details

| Installation Company |  | TMLN |  |
| --- | --- | --- | --- |

## PAS2030 Annex B, B1-I2

| Q1. Have you determined the installation of cavity wall insulation will not result in non-compliance with the Building Regulations, e.g. in relation to workmanship; materials; structural stability; fire safety; resistance to moisture? | Yes/No |
| --- | --- |
| Q2. Have you determined the installation of cavity wall insulation will not result in unsafe operation of a combustion appliances? | Yes/No |
| Q3. Have you determined the installation of cavity wall insulation will not compromise the functionality of existing ventilation ducts/systems? | Yes/No |
| Q4. Have you determined the installation of cavity wall insulation will not compromise the functionality and/or safety of existing services (gas, electric, water, telephone, etc.)? | Yes/No |
| Q5. Has the proposed installation been identified to be non-compliant with any requirements stated by the supplier | Yes/No |
| Q6. Have you identified if the type and condition of the dwelling structure is suitable for the works to commence? | Yes/No |
| Q7. Have you identified the extent of the cavity to be filled? | Yes/No |
| Q8. Will the site layout or conditions impair the execution of the works? | Yes/No |
| Q9. Have you identified if relevant checks have been undertaken to determine if materials containing asbestos are present? | Yes/No |
| Q10. Has a recognised pre-notification process been undertaken under an industry quality assurance scheme for cavity wall Insulation? | Yes/No |
| Q11. If the answer to Q10 is No has the pre-installation building inspection been independently checked by an appropriately qualified person (see PAS2030 Annex B, B1-l3) prior to commencement of installation? | Yes/No |