# Pre-Installation Building Inspection – Loft Insulation

## Property Details

| Address Line 1 |  | Address Line 2 |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address Line 3 |  | Town |  |  |  |
| County |  | Postcode |  |  |  |

## Installer Details

| Installation Company |  | TMLN |  |
| --- | --- | --- | --- |

## PAS2030 Annex B, B9-I2

| Q1. Have you determined any pre-existing damage to the areas that are accessed by the installation operatives? | Yes/No |
| --- | --- |
| Q2. Have you determined the extent of the area and elements to be insulated? | Yes/No |
| Q3. Have you determined if relevant checks have been undertaken to determine if materials containing asbestos are present? | Yes/No |
| Q4. Will the roof space have appropriate ventilation? | Yes/No |
| Q5. Is the roof space free from rodents/pests and protected species, e.g. bats? | Yes/No |
| Q6. Are the roof space timbers free from rot and/or infestation? | Yes/No |
| Q7. Have you determined the condition of the ceiling? | Yes/No |
| Q8. If there are metal structural roof members are they free from visible signs of corrosion? | Yes/No |
| Q9. Have you determined any electrical wiring is free from visible defects, e.g. damaged cables, trailing cables, exposed conductors? | Yes/No |
| Q10. Are there any visible signs of leakage from water system components, e.g. pipework, cisterns, tanks? | Yes/No |
| Q11. Are there any visible signs of water penetration? | Yes/No |
| Q12. Have you investigated and determined that the Loft Insulation installation work will not result in the proposed installation being non-compliant with any requirements stated by the designer/specifier? | Yes/No |
| Q13. Have you investigated and determined that the Loft Insulation installation work will not compromise the functionality of existing air supply/extract ventilation ducts/systems? | Yes/No |
| Q14. Have you investigated and determined that the Loft Insulation installation work will not result in unsafe operation of any combustion appliances? | Yes/No |
| Q15. Have you investigated and determined if the site layout or conditions would impair appropriate access to the property and to the roof space? | Yes/No |
| Q16. Have you investigated and determined if the roof space will be free from stored items, boarding etc? | Yes/No |
| Q17. Have you investigated and determined if the installation to be undertaken would not result in non-compliance with the Building Regulations, e.g. in relation to workmanship; materials; structural stability; fire safety; resistance to moisture | Yes/No |
| Q18. Has a recognised pre-notification process been undertaken under an industry quality assurance scheme for Loft Insulation? | Yes/No |
| Q19. If the answer to Q18 is No has the pre-installation building inspection been independently checked by an appropriately qualified person (see PAS2030 Annex B, B9-l3) prior to commencement of installation? | Yes/No |

## Notes

The Retrofit Installer shall verify that each inspection checked includes a unique identifier and the names of the persons who completed the inspection and the check.